## Sheet1
Category | Details
RATED POWER | 8000VA/8000W
PARALLEL CAPABILITY | YES, 6 units
INPUT | 230 VAC
Voltage | 170-280 VAC (For Personal Computers); 90-280 VAC (For Home Appliances)
Selectable Voltage Range | 50 Hz/60 Hz (Auto sensing)
Frequency Range | 230VAC ± 5%
OUTPUT | 16000VA
AC Voltage Regulation (Batt. Mode) | 93%
Surge Power | 10 ms (For Personal Computers); 20 ms (For Home Appliances)
Efficiency (Peak) | Pure sine wave
Transfer Time | 48 VDC
Waveform | 54 VDC
BATTERY | 63 VDC
Battery Voltage | MPPT
Floating Charge Voltage | 10000W (5000W x 2)
Overcharge Protection | 90 ~ 450 VDC
SOLAR CHARGER & AC CHARGER | 500 VDC
Solar Charger Type | 27A x 2 (MAX 40A)
Maximum PV Array Power | 150A
MPPT Range @ Operating Voltage | 120A
Maximum PV Array Open Circuit Voltage | 150A
Maximum PV Input Current | 145 x 438 x 553.6
Maximum Solar Charge Current | 18.4
Maximum AC Charge Current | USB/RS232/RS485/WiFi/Dry-contact/BTS; Support optional GFCI, Rapid shutdown, AFCI detection
Maximum Charge Current | Yes, built-in current transformer sensor
PHYSICAL | 5% to 95% Relative Humidity (Non-condensing)
Dimension, D x W x H (mm) | -10°C to 50°C
Net Weight (kgs) | -15°C to 60°C
Communication Interface | CE
External Current Sensor Port
OPERATING ENVIRONMENT
Humidity
Operating Temperature
Storage Temperature
STANDARD
Compliance Safety